SECTION 07 42 43

2023

CARTER ARCHITECTURAL PANELS, INC.

EVO™ RIVETLESS™

2MM & 3MM Coil Coated EVOPlate™ Non-Combustible WALL PANEL SPECIFICATION

SPEC NOTE:  Reference performance evaluation of the “EVOPlate non-combustible rainscreen system” Report- 18-06-B0193-F1, revision 3.  Report date March 28, 2019. (see Sec 1.05.1.5 Submittals below)

PART 1 - GENERAL

1.01   SECTION INCLUDES

.1    EVOPlate, Aluminum Plate Panel [pressure equalized rainscreen] [dry- seal] panels.

.2 [Supply only] [Supply and install].

. SPEC NOTE:  Re 101.3. Items listed are available at extra cost and not included with basic panel package.

.3    Accessories including Z-girts, roof caps, drip flashing, jamb flashing through wall flashing, and all other architectural trims, fasteners and vapour and air barriers.

.4	Standards for Consideration and Supporting Evidence

.1	Carter Architectural Panels, Inc., is recognized as the leading ACM/MCM Attachment System Designer and Distributor. Through rigorous testing to meet performance criteria Carter obtained our Code Compliance Research Report (CCRR), which will be referred to as CCRR-0474 hereafter.

.2	The CCRR-0474 addresses compliance with the following codes:

- 2021, 2018 International Building Code (IBC)

- 2020 Florida Building Code (FBC) including High Velocity Hurricane Zones (HVHZ); (TAS 202, TAS 201 and TAS 203)

- Carter Panel Systems comply with IBC Section 1406 and ICC-ES AC25 (Acceptance Criteria for Metal Composite Material (MCM/ACM)

- Carter Panel Systems may be used on buildings of Type I, II, III, or IV construction for installations greater than 40 feet above grade

.3	Relevance of CCRR-0474:

- CCRR-0474 Acceptance means the tested panel was one complete fabricated unit and evaluated on the basis-of-design for a real-world utilization.

- Included in the construction/fabrication of the tested assembly is both the chosen outer ACM plank material and [insulation and AVB material if designed and required], as well as and inclusive of, the extruded attachment system and components required to secure the finished wall panel to the sub-structure, inclusive of but not limited to Z-girts/Hat-channels, filler strips/splines. Etc.

- CCRR-0474 is unique in that it is inclusive of the entire panel and attachment assembly, where others are not.

1.02   RELATED REQUIREMENTS BY OTHERS

[.1   Section 06 10 00 – Rough Carpentry]

[.2	Section 07 21 00 – Thermal Insulation]

[.3   Section 07 27 00 – Air Barrier]

[.4	Section 07 92 00 – Joint Sealants]

1.03   REFERENCE STANDARDS

.1    Aluminum Panels

.1     AAMA 2605 Voluntary Specification, Performance Requirements and Test   Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels.

.2    ASTM B 209 Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate.

.3	Code Compliance Research Report (CCRR); CCRR-0473 recognizes performance and proficiency of the entire assembly and installation process of the overall wall panel assembly. (EVOPlate™ would be a suitable alternate for the tested ACM/MCM FR core)

.2	Panel Attachment System

.1	(see 1.07 Design & Performance Requirements; see 1.08 Technical Data utilizing proprietary EVO™ RIVETLESS™ perimeter extrusions)

1.04   PRE-INSTALLATION MEETINGS

.1    Coordinate products, techniques and sequencing of related work with Section

[01 31 19 - Project Meeting] [and] [ 01 31 19.33-Pre-Installation Meetings].

1.05   SUBMITTALS

.1	Under provisions of [Section 01 33 00], provide the following:

.1		LEED Credits: Conform to [Section 01 81 13 “Sustainable Design Requirements”] for documentation of LEED Credits re:  Certification of Project under LEED [caGBC] [USGBC] 2012 Rating System.

.2	 	Product Data:  manufacturer’s printed sheets or pages illustrating the products to be incorporated into the project.

.3		Shop Drawings:  Detail drawings showing openings, components, panel profile, dimensions, and other details of each condition and attachment such as treatment at edges, terminations, and flashings.

.4	Product Samples:  150 mm x 150 mm (6” x 6”) showing specified finish for each location.

.5	Product Test Reports:  Indicate compliance of product requirements from qualified independent testing agency: element Building Science & Fire Testing Group – AAMA 508-14 (AAMA; ASTM; NFPA; CCRR)

.6	Manufacturer’s Instructions:  Indicate installation requirements, rough-in dimensions, and special procedures.

.7	Sample Warranty:  As specified by this Section.

.8	Maintenance Data:  Panel replacement instructions and cleaning information.

1.06   QUALITY ASSURANCE

.1	Metal Wall Panel Manufacturer Qualifications:  Minimum 10 years’ experience in metal fabrication and supplying metal wall panel systems.

.2	Metal Wall Panel Installer Qualifications:  Minimum 10 years’ experience installing commercial metal wall panel systems.

.3	Metal Wall Panel Fabricators must be an approved EVO™ RIVETLESS™ Fabricator and must manufacture EVO™ RIVETLESS™ architectural panels to the tolerances and attributes established under the provisions of EVO™ RIVETLESS™ North America.

.4	Fabrication must be in accordance with the approved building plans.

1.07	DESIGN & PERFORMANCE REQUIREMENTS

.1    Design, fabricate and install EVOPlate™ Non-Combustible Aluminum Panels as a pressure equalized rainscreen (PER) panel system, to the following standards & requirements:

.1   The Aluminum Plate panel design MUST be 100% free of all fasteners in both the panel face and panel perimeter. All mounting hardware must also be fully concealed with color matched splines utilizing the same Kynar/PvDF paint technology as the coil coated Aluminum Panel, provided by manufacturer.

.2 	Only a Progressive System (independent panel, one-from-another), using sliding male-female clip components, which are held to the panels perimeter extrusion, without the use of rivets or screws, meets the description of an engineered EVO™ RIVETLESS™ panel design.  This design must enable a single panel to be independently removed and re-installed.

.3 	Any Aluminum Plate Panel attachment system not meeting the standards & requirements outlined above (1.07.1.1; 1.07.1.2), or any panel system utilizing a track or grid layout, or one that involves a “picture frame style” post-painted extrusion incorporating a face panel, or one that utilizes adhesives in place of mechanical fasteners in the panel design, are NOT considered as equal or comparable in design or performance, to the EVO™ RIVETLESS™ architectural panel system.

.4		Review and evaluate the product test reports made available by manufacturer,

to ensure performance expectations can be accomplished.  See www.carterpanels.com

.2     Structural Performance: The EVOPlate™ Non-Combustible rainscreen panel system can withstand the effects of the following loads, based on testing in accordance with ASTM E330-14:

Note:  The default deflection of the support framing was restricted to L/180 referencing AAMA 508-14 Section 5.8

.1	Structural Test Pressure (Table 7) (1.5 x Design Pressure +/- 3,591 Pa) = 5,386 Pa¹  (112.5 lbs/ft²)

.2	Vertical Net Deflection: (+/- 5,386 Pa; 112.5 lbs/ft²) = 0.02” (-0.44mm), 0.05” (1.36mm)

.3	Horizontal Net Deflection: (+/- 5,386 Pa; 112.5 lbs/ft²) = 0.05” (-1.24 mm), 0.06” (1.44mm)

.4	Wind Load:   Maximum Pressure Achieved  =   8,349 Pa¹  (174 lbs/ft²); (Table 8)

(Equivalent to 261 mph / 420 km/h; based on the Ensewiler formula)

(¹ Cladding system did not disengage from the wall assembly.  The EVOPlate™ Non-Combustible rainscreen panel system did not fail at 8,349 Pa., whereas, the vertical supporting steel studs buckled in the center)

.3	Air Infiltration: Air leakage of not more than 0.06 cfm/ lbs/ft² (0.3 L/s per sq. m) when tested according to ASTM E 283-04 (2012), at the following test-pressure difference:

.1	EVOPlate™ Non-Combustible rainscreen panel system Test-Pressure Differential:  Infiltration

75 Pa  @  1.57 lbs/ft²  :  0.01 L/s m² (0.003  CFM/ft²)

300 Pa  @  6.24 lbs/ft²  :  0.02 L/s m² (0.006  CFM/ft²)

.4	Water Penetration under Static Air Pressure: No uncontrolled water penetration when tested according to ASTM E 331-00 (2016) at the following test-pressure:

.1	Test-Pressure: 300 Pa (6.24 lbs/ft²); (< 5% of air/water barrier surface effected) Note: No water penetration observed or droplets present on simulated exterior sheathing.

.5	Dynamic Water Penetration:  No uncontrolled water penetration when tested according to AAMA 501.1-17 at the following test-pressure: 15 minute duration at a velocity of 50 mph/ 80 km/h

.1	Test-Pressure: 300 Pa (6.24 lbs/ft²); (< 5% of air/water barrier surface effected) Note: All water that penetrated the exterior cladding was controlled and drained to the exterior with no continuous streaming observed.

.6	Pressure Equalization Behaviour Analysis:  The EVOPlate™ Non-Combustible rainscreen panel system meets the requirements for Wind Gust Pressure Differential: Not to exceed 50% of maximum pressure

.1	Maximum External Gust Pressure  = 24.6 lbs/ft² @ 1,178 Pa = 21.2% pressure differential, as required by AAMA 508-14, Section 5.5 (ASTM E1233-14).

.7	       Thermal Movements: EVOPlate™ Non-Combustible rainscreen panel system has been designed to accommodate vertical and horizontal thermal movement of components, preventing buckling, opening of joints and other detrimental effects when subjected to seasonal temperature cycles.  Systems that incorporate enlarged holes or loose-fitting attachments to accommodate for thermal fluctuations, are NOT considered as equal or comparable in design or performance, to the EVO™ architectural panel system.

.1	Temperature Change (Range): [120 deg F 67 deg C, ambient; 180 deg F 100 deg C, material surfaces].

.8	Fire Propagation Characteristics:  EVOPlate™ Non-Combustible Solid Aluminum wall panel system has been tested to NFPA 285 protocol.

.1	EVOPlate™ Non-Combustible rainscreen panel system met the Conditions of Acceptance of NFPA 285-2019 test criteria.  See the Intertek test report available from Carter Architectural Panels, Inc., and on CADdetails.com. (NFPA Test Report w/EVOPlate™ 2mm coil coated) (Report # 104488273SAT-005A RO)

.2	1.07.8.1 Conditions of Acceptance are Supporting Evidence required for CCRR-0474

1.08	TECHNICAL DATA

Applicable Standards for the EVOPlate™ Non-Combustible pressure equalized rainscreen (PER) wall panel attachment system (EVO™ RIVETLESS™).

RAINSCREEN TESTING

AAMA 508-14 Compliant

AIR/WATER/WIND PERFORMANCE

AAMA 501.1-17 (Dynamic)

ASTM E 1233-14 (Modified)

ASTM E 283-04 (2012)

ASTM E 330-14 (2014)

ASTM E 331-00 (2016)

FIRE TEST METHOD

NFPA 285-2019

Standard Fire Test Method for Evaluation of Fire Propagation Characteristics of Exterior Non-Load-Bearing Wall Assemblies Containing Combustible Components

1.09   MOCK-UP

SPEC NOTE:  Mock-up is only specified for special or large projects and only upon request.

.1	Provide a mock-up on building consisting of complete cladding system, including but not limited to metal furring, panels, securement devices, sealants, and mouldings for approval.  Cladding finish and mouldings to be of finish and color as designated by the [Architect].

.2		Location of mock-up to be as directed by [Architect].  Size to be four panels minimum in a 2 over 2 configurations.  Alternate pattern can be requested by Architect.

.3	 Modify mock-up as necessary for [Architect] approval.  Mock-up [may] [may not] remain in place as part of completed work.  Mock-up to represent standard for completed work.

1.10   DELIVERY, STORAGE, AND HANDLING

.1		Handle and store products to prevent damage, soiling, and in accordance with manufacturer’s instructions.

.2	Store packaged or bundled products in original and undamaged crates with manufacturer’s seals and labels intact.  Do not remove from packaging or crates until required for installation.

1.11   PACKAGING WASTE MANAGEMENT

.1	Return undamaged pallets and crates to manufacturer of systems employed.  All other

plastics, packaging foam, banding and fasteners are to be disposed of by panel installer.

1.12   ENVIRONMENTAL CONSIDERATIONS (LEED)

.1      6061-T6 EVO™ Extrusion

Material percentages may vary from batch to batch. Standard aluminum blending formulas call for a minimum of 10% post-consumer aluminum in every blend. The final percentage is between 10% and 15% on 6063 type grades (industry standard). 6061 alloys often have a much higher percentage of post-consumer scrap. These alloys can contain in excess of 75%. The EVO™ architectural panel system is produced using 6061-T6.

.2    EVOPlate™ coil coated 60”x196” aluminum sheet.

5000 Series- 40 % pure aluminum ingot, 60 % pre-consumer (include alloys constituent)

1.13   WARRANTY

.1	  EVOPlate™ Finish Coating Performance:  Provide manufacturer’s standard [20 year] warranty against fading, color change, chalking.

(subject to the other terms and conditions of this Agreement, the “Limited Warranty”).

** This is not a corrosion warranty**.

PART 2 – PRODUCTS

2.01   MANUFACTURERS

.1	Solid Aluminum metal panels [EVOPlate™] to be obtained as single source from Carter Architectural Panels approved EVO™ RIVETLESS™ manufacturers.

- .2    EVOPlate™ - Coil Coated Aluminum Sheet

- .1	Architectural Systems Group LLC- 7925 E. Ray Rd ste# 133, Mesa, Arizona  85212

- .2	Aluminum Sheets:

.1 Thickness: 2mm or 3mm

.2 Alloy: 5754- H42 or 5052-H32 Series (Pre-Painted material)

- .3	Panel Thickness and Weight:

- .1 [2mm:  1.13 lbs./ft²] [3mm:  1.78 lbs./ft²]

.4	Core: Solid Aluminum Alloy

- .5	Fire Performance

.1    ASTM E 84: Flame Spread = "Passed Class A"

.2    Smoke Developed = “Passed Class A”

.3    NFPA 285 Tested EVOPlate™

.4    Physical Properties

| Chemical Name † | EC No. | CAS-No. | Composition * | Classification |
| --- | --- | --- | --- | --- |
| Aluminum | 231-072-3 | 7429-90-5 | 92 - 99% | - |
| Magnesium | 231-104-6 | 7439-95-4 | 0.2 - 5.6% | F;R11, R15 |
| Manganese | 231-105-1 | 7439-96-5 | 0.05 - 1.4% | Xn;R48/20 |
| Chromium | 231-157-5 | 7440-47-3 | 0 - 0.35% | - |
| Iron | 231-096-4 | 7439-89-6 | 0 - 0.35% | - |
| Silicon | 231-130-8 | 7440-21-3 | 0 - 0.2% | - |

.6   Aluminum Sheet Performance by Grade

.1     Material             Tensile           Yield          Elongation

5052-H32            31-38            23.0 min         4 min

.2  EVOPlate™ Coating Performance

• Pencil Hardness (ASTM D 33631): F-H, Eagle Turquoise

• Gloss @ 60 ̊ (ASTM D 523): 15 to 40

• Solvent Resistance (ASTM D 5402): 100+ MEK double rubs

• Reverse Impact Resistance (ASTM D 27942): 1.5 x metal thickness/no pick-off or cracking

• Flexibility/T-Bend (ASTM D 41452): 2T no pick-off

• Metal Marking Resistance: Excellent

• Humidity Resistance (ASTM D 2247, ASTM D714): No blistering, loss of adhesion, or discoloration after 1500 hours exposure to 100% relative humidity

• Salt Spray Resistance (ASTM B 117, ASTM D714): None or few #8 blisters and no more than 1/16” creepage from a score line using 5% salt solution for 1500 hours

• South Florida Exposure: 20 years @ 45 ̊, Less than 5.0 ∆E, Chalk rating of no less than 8

• QUV-A Accelerated Weathering (ASTM G154, ASTM D2244): Less than 3.0 ∆E, 70% gloss retention for 2000 hours

2.02	   MATERIALS

SPEC NOTE:  Delete items not required.

.1	Aluminum Plate Wall Panel Systems

.1  	EVOPlate™ Non-Combustible  Architectural Panels by (Licensee name)[Pressure Equalized Rainscreen] [dry-seal] wall cladding.

.2	 Thickness:  2 mm, 3 mm .

.3	 	Panel Depth: (1.75”) from face of panel too substrate.

.4	 		Core: N/A- Solid Aluminum Alloy

.5		EVOPlate™: [Solid Aluminum coil coated flat sheet 60”x196”] or approved alternate.

.6	  Manufacturer’s standard, as shown on drawings, and as follows:

.1   Z-girts: [18 ga.; 16 ga.] steel galvanized to ASTM A653 G90.

.2   Aluminum Extrusions:  EVO™ RIVETLESS™ extrusions, Mill finish (6061-T6).

.

2.03	 	FABRICATION

SPEC NOTE:  see Quality Assurance (1.06.1 to .4 above for Manufacturer qualifications/criteria)

.1  Solid Aluminum Wall Panels

[.1   2MM or 3MM coil coated 5000 series aluminum plate alloy.]

.2	Fabrication Method: Rout and return system utilizing a CNC cutting table with automatic pressure foot to control cutting depth and vacuum bed for sheet support.

.1  Fabrication Method: Prepare EVO™ RIVETLESS™ extrusions  for securing to

EVOPlate™ panel in accordance with manufacturer’s written instructions and in

accordance with AAMA 508-04. (High temperature silicone, PER Corner Blocks)

.3    		Fabricated Panel Tolerances

.1	  Length:  Plus 1.6 mm (0.062 inch).

.2  	  Width:  Plus 1.6 mm (0.062 inch).

.3    Depth:  Plus or minus 0.2 mm (0.008 inch).

.4	Panel Bow:  0.8 percent maximum of panel length or width.

.5	Squareness:  5 mm (0.2 inch) maximum.

.4 	Rainscreen Panels:  Provide for positive drainage of condensation and water entering at joints to exterior face of wall in accordance with “Rain Screen Principles”. Panels to have drainage holes in bottom of each panel measuring 10 mm (3/8”) diameter on 610mm (24”) centres, to AAMA 508-14.

PART 3 – EXECUTION

3.01		EXAMINATION

.1	 Verify that substrate conditions are acceptable (plumb and level) prior to installation of products.  Commencement of work or any parts thereof indicate acceptance of prepared substrates.

.2	Surfaces to receive panel system barrier to be sound, dry, clean, and free from oil, grease, dirt, excess mortar, or other contaminants.  Fill spalled areas to provide an even plane.

3.02		 PREPARATION

.1    Protect adjacent work areas and finished surfaces from damage by this Section of Work.

3.03		 INSTALLATION

.1 [When being installed within the HVHZ criteria, the EVOPlate™ Non-Combustible panel system (as an alternate material) must be installed as described in Sections 3, 4, 5 of the CCRR-0474 report].  CCRR-0473 recognizes the significance of a full system assembly and installation for real-world applications.

.2   [EVOPlate™ Non-Combustible] [EVO™ RIVETLESS™] rainscreen Panels

.1	Install panels plumb, level and true, and in accordance with manufacturer’s written instructions.

.2	Anchor panels securely in place in accordance with fabricator’s approved shop drawings.

.3	Installation Tolerances:  Maximum deviation from horizontal and vertical alignment of installed panels not to exceed 6.4 mm (0.25”) in 6.1 m (20 feet), non-cumulative.

3.04	     SITE QUALITY CONTROL

.1    Upon Owner’s request, provide wall panel fabricator’s site service or periodic site visit to inspect product installation in accordance with fabricator’s instructions.

3.05     ADJUSTING

.1    Repair panels with minor damage so that repairs are not discernible at a distance of

3.1m (10’-0”).

.2	Remove and replace panels damaged beyond repair.

.3	Remove protective film immediately upon completion of panel installation and prior to application of any joint sealants.

3.06     CLEANING

.1    Clean installed products in accordance with manufacturer’s instructions prior to Owner’s acceptance.

3.07     WASTE MANAGEMENT

.1	Remove from site damaged panels, packaging, temporary coverings, protective film and other debris resulting from the Work of this Section.

3.08     PROTECTION

.1	Protect installed panel finishes from damage during construction.

.2	Provide protective measures as required to ensure that installed panels are not damaged by the work of other trades.

END OF SECTION.